## Report
Measurement time | 01. Peak | 01. Peak position | 02. 90% peak | 02. 90% peak position | 03. 10% peak | 03. 10% peak position | 04. Signal rise time | 05. 10% peak left | 05. 10% peak left position | 06. 10% peak right | 06. 10% peak right position | 07. A-duration | 08. L+ line | 09. L- line | 10. P time position | 11. Primary portion | 12. B-duration | 13. Fluctuation duration | 15. Sound Exposure Level | 16. Sound Pressure Level | 17. N1 - allowable number of impulses/day (single protect.) | 18. N2 - allowable number of impulses/day (double protect.)
2021-08-18 12:57 | 70.6021 | 0.063417 | 69.6869 | 0.063415 | 50.6021 | 0.063332 | 0.082657 | 50.6021 | 0.063332 | 50.6021 | 0.063444 | 0.11147 | 50.6021 | 54.497 | 0.063963 | 0.63062 | 25.7123 | 25.0816 | 40.1821 | 57.6771 | 1.2458e+30 | 2.4917e+31
2021-08-18 13:52 | 69.8141 | 0.053282 | 68.899 | 0.05328 | 49.8141 | 0.053263 | 0.016852 | 49.8141 | 0.053263 | 49.8141 | 0.053293 | 0.030022 | 49.8141 | 51.2566 | 0.053428 | 0.16492 | 33.3242 | 33.1593 | 40.0757 | 58.4602 | 1.2292e+30 | 2.4583e+31
2021-08-18 15:06 | 74.3858 | 0.054653 | 73.4706 | 0.054652 | 54.3858 | 0.054644 | 0.0073176 | 54.3858 | 0.054644 | 54.3858 | 0.054665 | 0.020476 | 54.3858 | 55.5837 | 0.054804 | 0.1591 | 29.887 | 29.7279 | 42.6354 | 61.5905 | 8.2284e+29 | 1.6457e+31